## PDR 12i
| TG-43 CONSENSUS |  |  |  |  | GammaMed PDR 192Ir 12i
Dose calculation for photon-emitting brachytherapy sources with average energy higher than 50 keV: Full Report of the AAPM and ESTRO
Med. Phys. 39 (2012) 2904-2929
| L = | 1.1255 |  | cGy/(h U)
Interpolated / extrapolated data are boldface / underlined. Values inside the source are in italics.
| gL( r) |  |  |  | F(r,q) | [17 empty] | QA Along-away
| L = | 0.05 | cm |  |  |  | Distance from Active Source Center (cm)
| r (cm) | gL(r) L = 0,05 cm unbounded |  | q (º) | 0 | 0.2 | 0.4 | 0.6 | 0.8 | 1 | 1.25 | 1.5 | 1.75 | 2 | 2.5 | 3 | 3.5 | 4 | 5 | 6 | 8 | 10 |  | z (cm) | 0 | 0.25 | 0.5 | 0.75 | 1 | 1.5 | 2 | 3 | 4 | 5 | 6 | 7
| 0 | 1.0092 |  | 0 | 0.943 | 0.943 | 0.944 | 0.945 | 0.945 | 0.945 | 0.946 | 0.9467 | 0.948 | 0.952 | 0.952 | 0.953 | 0.956 | 0.96 | 0.96 | 0.9598 | 0.963 | 0.969 |  | 7 | 0.021938 | 0.021942 | 0.021886 | 0.021759 | 0.021607 | 0.021167 | 0.02057 | 0.018933 | 0.016944 | 0.014827 | 0.012834 | 0.011045
| 0.2 | 1.0092 |  | 1 | 0.943 | 0.943 | 0.944 | 0.945 | 0.945 | 0.945 | 0.946 | 0.947 | 0.948 | 0.952 | 0.952 | 0.953 | 0.9604 | 0.96 | 0.96 | 0.9605 | 0.963 | 0.969 |  | 6 | 0.030069 | 0.030062 | 0.029958 | 0.029723 | 0.029449 | 0.028672 | 0.027588 | 0.024679 | 0.021383 | 0.018191 | 0.015309 | 0.01286
| 0.25 | 1.0068 |  | 2 | 0.943 | 0.943 | 0.944 | 0.945 | 0.9446 | 0.945 | 0.946 | 0.947 | 0.9478 | 0.9524 | 0.952 | 0.9534 | 0.956 | 0.96 | 0.96 | 0.9607 | 0.9649 | 0.9702 |  | 5 | 0.043515 | 0.043406 | 0.043073 | 0.042673 | 0.042133 | 0.04059 | 0.038424 | 0.033021 | 0.027372 | 0.022357 | 0.018229 | 0.014895
| 0.5 | 0.99935 |  | 3 | 0.9426 | 0.9426 | 0.9437 | 0.9448 | 0.9447 | 0.945 | 0.946 | 0.9469 | 0.948 | 0.952 | 0.952 | 0.953 | 0.956 | 0.96 | 0.96 | 0.9622 | 0.9655 | 0.9703 |  | 4 | 0.068121 | 0.067855 | 0.067155 | 0.066093 | 0.064762 | 0.061039 | 0.056132 | 0.045268 | 0.035326 | 0.027451 | 0.021506 | 0.01708
| 0.75 | 0.99952 |  | 4 | 0.9436 | 0.9436 | 0.9443 | 0.945 | 0.945 | 0.945 | 0.946 | 0.9471 | 0.9484 | 0.9531 | 0.953 | 0.9534 | 0.956 | 0.96 | 0.96 | 0.9624 | 0.9658 | 0.9707 |  | 3 | 0.1202 | 0.11943 | 0.11738 | 0.11467 | 0.11079 | 0.09982 | 0.086959 | 0.063089 | 0.045465 | 0.03328 | 0.02497 | 0.01922
| 1 | 1 |  | 5 | 0.9441 | 0.9441 | 0.9446 | 0.9451 | 0.9453 | 0.945 | 0.947 | 0.9477 | 0.9485 | 0.9532 | 0.953 | 0.9534 | 0.9557 | 0.96 | 0.9595 | 0.9632 | 0.9665 | 0.9715 |  | 2 | 0.26947 | 0.26609 | 0.25732 | 0.24323 | 0.22398 | 0.181 | 0.14199 | 0.087539 | 0.056899 | 0.039123 | 0.028183 | 0.021089
| 1.5 | 1.0025 |  | 6 | 0.946 | 0.946 | 0.9464 | 0.9468 | 0.9471 | 0.947 | 0.9496 | 0.9492 | 0.9495 | 0.9541 | 0.953 | 0.9538 | 0.9557 | 0.9614 | 0.9599 | 0.9633 | 0.9662 | 0.9711 |  | 1.5 | 0.47496 | 0.46492 | 0.44038 | 0.39714 | 0.34654 | 0.25205 | 0.18191 | 0.10122 | 0.062378 | 0.041657 | 0.029499 | 0.021827
| 2 | 1.0056 |  | 7 | 0.9483 | 0.9483 | 0.9484 | 0.9485 | 0.9488 | 0.9486 | 0.9509 | 0.9505 | 0.9504 | 0.9547 | 0.955 | 0.955 | 0.9558 | 0.9612 | 0.9605 | 0.9637 | 0.9666 | 0.9716 |  | 1 | 1.0645 | 1.0217 | 0.89122 | 0.71971 | 0.56488 | 0.34907 | 0.22736 | 0.11386 | 0.066922 | 0.043657 | 0.030511 | 0.02238
| 3 | 1.0083 |  | 8 | 0.9479 | 0.9479 | 0.9481 | 0.9483 | 0.9487 | 0.949 | 0.9507 | 0.9505 | 0.9503 | 0.9544 | 0.955 | 0.955 | 0.9563 | 0.9616 | 0.962 | 0.9653 | 0.968 | 0.9726 |  | 0.5 | 4.2609 | 3.562 | 2.2555 | 1.3921 | 0.90508 | 0.45349 | 0.26709 | 0.12289 | 0.069945 | 0.044924 | 0.031133 | 0.022715
| 4 | 1.0085 |  | 9 | 0.9464 | 0.9464 | 0.9471 | 0.9478 | 0.9488 | 0.9499 | 0.9514 | 0.9515 | 0.9514 | 0.9555 | 0.956 | 0.9557 | 0.9578 | 0.9625 | 0.9633 | 0.9662 | 0.9684 | 0.973 |  | 0 | 3856822633.2329 | 18.0736 | 4.4963 | 1.9996 | 1.1255 | 0.50151 | 0.283 | 0.12612 | 0.070955 | 0.045327 | 0.031328 | 0.022818
| 5 | 1.0066 |  | 10 | 0.948 | 0.948 | 0.9489 | 0.9498 | 0.9508 | 0.9522 | 0.9532 | 0.9533 | 0.9532 | 0.9569 | 0.957 | 0.957 | 0.9591 | 0.9632 | 0.9645 | 0.9673 | 0.9693 | 0.974 |  | -0.5 | 2.146 | 3.5265 | 2.2432 | 1.3882 | 0.90344 | 0.45295 | 0.26691 | 0.12287 | 0.069925 | 0.044908 | 0.03112 | 0.022707
| 6 | 1.0018 |  | 15 | 0.961 | 0.961 | 0.9627 | 0.9644 | 0.9652 | 0.9665 | 0.9659 | 0.9663 | 0.9663 | 0.9678 | 0.9677 | 0.9675 | 0.9702 | 0.9712 | 0.9737 | 0.9754 | 0.9762 | 0.9799 |  | -1 | 0.5497 | 1.0001 | 0.88323 | 0.71548 | 0.56223 | 0.34787 | 0.22703 | 0.11371 | 0.066859 | 0.043626 | 0.030485 | 0.022363
| 8 | 0.98458 |  | 20 | 0.97 | 0.97 | 0.9757 | 0.9781 | 0.9786 | 0.9791 | 0.9781 | 0.9788 | 0.9789 | 0.9788 | 0.9791 | 0.9786 | 0.9813 | 0.9803 | 0.9827 | 0.9837 | 0.9841 | 0.9868 |  | -1.5 | 0.251 | 0.44531 | 0.43566 | 0.39368 | 0.34381 | 0.25083 | 0.1814 | 0.10104 | 0.062275 | 0.041611 | 0.029462 | 0.021803
| 10 | 0.96025 |  | 30 | 0.9749 | 0.9749 | 0.9917 | 0.994 | 0.9947 | 0.9947 | 0.9933 | 0.9935 | 0.9937 | 0.9937 | 0.9928 | 0.9936 | 0.9939 | 0.9936 | 0.9945 | 0.9941 | 0.9947 | 0.995 |  | -2 | 0.1451 | 0.24488 | 0.25209 | 0.24106 | 0.22202 | 0.17983 | 0.14133 | 0.087321 | 0.056792 | 0.03906 | 0.028136 | 0.021059
|  |  |  | 40 | 0.987 | 0.987 | 0.9977 | 0.9994 | 1.0006 | 1.0008 | 0.9997 | 0.9995 | 1.0001 | 1.0002 | 0.9996 | 0.9996 | 0.9992 | 0.9992 | 1.0006 | 0.9991 | 0.9996 | 0.9988 |  | -3 | 0.067758 | 0.10453 | 0.11234 | 0.11251 | 0.10957 | 0.098861 | 0.086273 | 0.062756 | 0.045278 | 0.033186 | 0.024908 | 0.019178
|  |  |  | 50 | 0.9934 | 0.9934 | 1.0011 | 1.0032 | 1.0043 | 1.0039 | 1.0031 | 1.0036 | 1.003 | 1.003 | 1.0024 | 1.0024 | 1.0018 | 1.0016 | 1.0028 | 1.0012 | 1.0016 | 1.0013 |  | -4 | 0.039865 | 0.057346 | 0.062443 | 0.06377 | 0.063503 | 0.060427 | 0.055599 | 0.044942 | 0.035136 | 0.027339 | 0.021432 | 0.017031
|  |  |  | 60 | 0.9958 | 0.9958 | 1.0025 | 1.0049 | 1.0056 | 1.0051 | 1.0039 | 1.0047 | 1.0037 | 1.0037 | 1.0029 | 1.0034 | 1.0029 | 1.0029 | 1.0036 | 1.0024 | 1.0024 | 1.0025 |  | -5 | 0.02658 | 0.035357 | 0.039206 | 0.040666 | 0.040917 | 0.040012 | 0.037978 | 0.03274 | 0.027193 | 0.022237 | 0.018147 | 0.014839
|  |  |  | 70 | 0.9962 | 0.9962 | 1.0026 | 1.0048 | 1.005 | 1.0051 | 1.0039 | 1.0049 | 1.0038 | 1.0037 | 1.0031 | 1.0033 | 1.0033 | 1.0032 | 1.0034 | 1.0025 | 1.0023 | 1.0024 |  | -6 | 0.019142 | 0.023961 | 0.026609 | 0.027886 | 0.028359 | 0.028097 | 0.027201 | 0.024429 | 0.021213 | 0.018072 | 0.015226 | 0.012802
|  |  |  | 80 | 0.9951 | 0.9951 | 1.0009 | 1.0026 | 1.0024 | 1.0026 | 1.002 | 1.0024 | 1.0019 | 1.0018 | 1.0015 | 1.0015 | 1.0019 | 1.0017 | 1.002 | 1.0018 | 1.0017 | 1.0016 |  | -7 | 0.014503 | 0.017422 | 0.019302 | 0.020216 | 0.020643 | 0.020654 | 0.020257 | 0.018725 | 0.016793 | 0.014716 | 0.012756 | 0.010989
|  |  |  | 90 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | 100 | 0.9953 | 0.9953 | 1.0012 | 1.0022 | 1.0029 | 1.0026 | 1.002 | 1.0019 | 1.0018 | 1.0015 | 1.0015 | 1.0014 | 1.0011 | 1.0013 | 1.0014 | 1.0009 | 1.0008 | 1.0005
|  |  |  | 110 | 0.9959 | 0.9959 | 1.0023 | 1.0038 | 1.0048 | 1.0044 | 1.0026 | 1.0035 | 1.0026 | 1.0024 | 1.0023 | 1.002 | 1.0014 | 1.0014 | 1.0022 | 1.0007 | 1.0005 | 1.0003
|  |  |  | 120 | 0.9936 | 0.9936 | 1.0007 | 1.0029 | 1.0036 | 1.0033 | 1.0011 | 1.003 | 1.0011 | 1.0017 | 1.0016 | 1.0014 | 1.0013 | 1.0009 | 1.0014 | 0.9996 | 0.9995 | 0.9995
|  |  |  | 130 | 0.9882 | 0.9882 | 0.9969 | 0.9992 | 0.9996 | 0.9996 | 0.9984 | 1 | 0.9975 | 0.9993 | 0.9989 | 0.9984 | 0.998 | 0.9974 | 0.9978 | 0.997 | 0.997 | 0.9971
|  |  |  | 140 | 0.9782 | 0.9782 | 0.9903 | 0.9931 | 0.9939 | 0.9941 | 0.9944 | 0.994 | 0.994 | 0.994 | 0.9939 | 0.9943 | 0.994 | 0.9932 | 0.9939 | 0.993 | 0.9931 | 0.9929
|  |  |  | 150 | 0.973 | 0.973 | 0.9806 | 0.9844 | 0.9858 | 0.9858 | 0.9862 | 0.9858 | 0.9849 | 0.9846 | 0.9848 | 0.9842 | 0.9846 | 0.9842 | 0.9862 | 0.9853 | 0.9859 | 0.9858
|  |  |  | 160 | 0.9682 | 0.9682 | 0.968 | 0.9678 | 0.9684 | 0.9684 | 0.968 | 0.97 | 0.97 | 0.9702 | 0.97 | 0.9698 | 0.971 | 0.9711 | 0.971 | 0.971 | 0.9725 | 0.9734
|  |  |  | 165 | 0.942 | 0.942 | 0.946 | 0.95 | 0.95 | 0.95 | 0.95 | 0.953 | 0.9507 | 0.953 | 0.9522 | 0.9537 | 0.9559 | 0.9565 | 0.9593 | 0.9586 | 0.9614 | 0.964
|  |  |  | 170 | 0.9146 | 0.9146 | 0.9148 | 0.915 | 0.9152 | 0.915 | 0.9152 | 0.917 | 0.9174 | 0.9172 | 0.9195 | 0.9208 | 0.923 | 0.9263 | 0.9318 | 0.9352 | 0.9421 | 0.9461
|  |  |  | 171 | 0.9062 | 0.9062 | 0.9059 | 0.9056 | 0.9053 | 0.905 | 0.906 | 0.908 | 0.9078 | 0.908 | 0.9093 | 0.9104 | 0.9126 | 0.9167 | 0.9225 | 0.9268 | 0.9359 | 0.9406
|  |  |  | 172 | 0.89172 | 0.89172 | 0.89204 | 0.89236 | 0.89268 | 0.893 | 0.8934 | 0.895 | 0.8954 | 0.896 | 0.8971 | 0.898 | 0.9005 | 0.9056 | 0.9115 | 0.9162 | 0.928 | 0.9336
|  |  |  | 173 | 0.88128 | 0.88128 | 0.88096 | 0.88064 | 0.88032 | 0.88 | 0.8796 | 0.8811 | 0.8812 | 0.8759 | 0.8824 | 0.8827 | 0.8857 | 0.8919 | 0.8977 | 0.9023 | 0.9177 | 0.9247
|  |  |  | 174 | 0.81862 | 0.81862 | 0.82574 | 0.83286 | 0.83998 | 0.8471 | 0.856 | 0.8649 | 0.8655 | 0.8571 | 0.8654 | 0.8644 | 0.8674 | 0.8751 | 0.8801 | 0.8843 | 0.9041 | 0.9134
|  |  |  | 175 | 1.4344 | 1.4344 | 1.3568 | 1.2792 | 1.2016 | 1.124 | 1.027 | 0.93 | 0.833 | 0.8325 | 0.836 | 0.8412 | 0.8442 | 0.8539 | 0.8576 | 0.8615 | 0.8853 | 0.898
|  |  |  | 176 | 0.64856 | 0.64856 | 0.66552 | 0.68248 | 0.69944 | 0.7164 | 0.7376 | 0.7588 | 0.78 | 0.8012 | 0.806 | 0.8124 | 0.8155 | 0.8277 | 0.8301 | 0.8346 | 0.8612 | 0.8779
|  |  |  | 177 | 0.6828 | 0.6828 | 0.6876 | 0.6924 | 0.6972 | 0.702 | 0.708 | 0.714 | 0.72 | 0.726 | 0.738 | 0.75 | 0.7741 | 0.789 | 0.7901 | 0.7976 | 0.8269 | 0.8499
|  |  |  | 178 | 0.58296 | 0.58296 | 0.58912 | 0.59528 | 0.60144 | 0.6076 | 0.6153 | 0.623 | 0.6307 | 0.6384 | 0.6538 | 0.6692 | 0.6846 | 0.7 | 0.7308 | 0.7463 | 0.778 | 0.809
|  |  |  | 179 | 0.53738 | 0.53738 | 0.54166 | 0.54594 | 0.55022 | 0.5545 | 0.55985 | 0.5652 | 0.57055 | 0.5759 | 0.5866 | 0.5973 | 0.608 | 0.6187 | 0.6401 | 0.6615 | 0.7043 | 0.7471
|  |  |  | 180 | 0.46832 | 0.46832 | 0.47324 | 0.47816 | 0.48308 | 0.488 | 0.49415 | 0.5003 | 0.50645 | 0.5126 | 0.5249 | 0.5372 | 0.5495 | 0.5618 | 0.5864 | 0.611 | 0.6602 | 0.7094