## 81-01
| TG-43 CONSENSUS | [5 empty] | Best Industries LDR 192Ir seed
Dose calculation for photon-emitting brachytherapy sources with average energy higher than 50 keV: Full Report of the AAPM and ESTRO
Med. Phys. 39 (2012) 2904-2929
| L = | 1.1102 |  | cGy/(h U)
Interpolated / extrapolated data are boldface / underlined. Values inside the source are in italics.
| gL( r) |  |  |  | F(r,q) | [13 empty] | QA Along-away
| L = | 0.3 | cm |  |  |  |  | Distance from Active Source Center (cm)
| r (cm) | gL( r) |  | Theta/deg | 0 | 0.25 | 0.5 | 0.75 | 1 | 1.5 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 10 | z / cm | 0 | 0.25 | 0.5 | 0.75 | 1 | 1.5 | 2 | 3 | 4 | 5 | 6 | 7
| 0 | 0.979 |  | 0 | 0.745 | 0.745 | 0.649 | 0.643 | 0.644 | 0.651 | 0.663 | 0.692 | 0.713 | 0.744 | 0.766 | 0.783 | 0.793 | 0.822 | 7 | 0.017702 | 0.018611 | 0.019509 | 0.019979 | 0.020175 | 0.020183 | 0.019834 | 0.018383 | 0.016474 | 0.014411 | 0.012469 | 0.010723
| 0.05 | 0.979 |  | 1 | 0.755 | 0.755 | 0.671 | 0.665 | 0.666 | 0.674 | 0.686 | 0.711 | 0.735 | 0.759 | 0.782 | 0.793 | 0.808 | 0.832 | 6 | 0.02379 | 0.025498 | 0.02687 | 0.027425 | 0.027682 | 0.02748 | 0.026695 | 0.024054 | 0.020877 | 0.017747 | 0.014928 | 0.012528
| 0.1 | 0.986 |  | 2 | 0.787 | 0.787 | 0.716 | 0.712 | 0.713 | 0.723 | 0.733 | 0.755 | 0.775 | 0.794 | 0.812 | 0.823 | 0.837 | 0.855 | 5 | 0.033482 | 0.036923 | 0.038989 | 0.039816 | 0.040014 | 0.039184 | 0.037344 | 0.032221 | 0.026795 | 0.02194 | 0.017854 | 0.014563
| 0.15 | 0.989 |  | 3 | 0.828 | 0.828 | 0.764 | 0.76 | 0.76 | 0.768 | 0.777 | 0.795 | 0.81 | 0.827 | 0.839 | 0.85 | 0.861 | 0.877 | 4 | 0.050362 | 0.05805 | 0.061412 | 0.062351 | 0.062062 | 0.059314 | 0.054854 | 0.044317 | 0.034671 | 0.027008 | 0.021162 | 0.016761
| 0.2 | 0.991 |  | 4 | 0.859 | 0.859 | 0.8 | 0.795 | 0.794 | 0.8 | 0.806 | 0.821 | 0.836 | 0.848 | 0.859 | 0.866 | 0.876 | 0.893 | 3 | 0.087076 | 0.10471 | 0.11003 | 0.10994 | 0.10732 | 0.097532 | 0.085221 | 0.062027 | 0.044755 | 0.032819 | 0.02463 | 0.018903
| 0.25 | 0.992 |  | 5 | 0.88 | 0.88 | 0.825 | 0.82 | 0.82 | 0.825 | 0.829 | 0.843 | 0.856 | 0.865 | 0.875 | 0.882 | 0.89 | 0.905 | 2 | 0.18793 | 0.24079 | 0.24612 | 0.23651 | 0.21912 | 0.17763 | 0.13963 | 0.086401 | 0.056203 | 0.038641 | 0.027826 | 0.020795
| 0.5 | 0.996 |  | 6 | 0.896 | 0.896 | 0.845 | 0.839 | 0.838 | 0.841 | 0.847 | 0.859 | 0.87 | 0.879 | 0.888 | 0.893 | 0.902 | 0.912 | 1.5 | 0.32819 | 0.435 | 0.42745 | 0.38907 | 0.34006 | 0.2478 | 0.17923 | 0.10006 | 0.061664 | 0.041193 | 0.029147 | 0.02155
| 0.75 | 0.997 |  | 8 | 0.913 | 0.913 | 0.87 | 0.867 | 0.868 | 0.871 | 0.875 | 0.884 | 0.893 | 0.9 | 0.904 | 0.91 | 0.917 | 0.924 | 1 | 0.73688 | 0.98886 | 0.87793 | 0.70941 | 0.55652 | 0.3443 | 0.22454 | 0.11267 | 0.066253 | 0.043231 | 0.030171 | 0.022121
| 1 | 1 |  | 10 | 0.93 | 0.93 | 0.893 | 0.891 | 0.891 | 0.893 | 0.897 | 0.904 | 0.91 | 0.918 | 0.921 | 0.925 | 0.93 | 0.936 | 0.5 | 3.178 | 3.6461 | 2.2394 | 1.3715 | 0.89176 | 0.4477 | 0.26422 | 0.12181 | 0.069364 | 0.044523 | 0.030812 | 0.022474
| 1.5 | 1.004 |  | 15 | 0.956 | 0.956 | 0.932 | 0.93 | 0.928 | 0.927 | 0.929 | 0.934 | 0.939 | 0.945 | 0.946 | 0.949 | 0.952 | 0.957 | 0 | 489460194.2435 | 15.9896 | 4.3291 | 1.9566 | 1.1102 | 0.49744 | 0.28133 | 0.12541 | 0.070501 | 0.044949 | 0.031031 | 0.022594
| 2 | 1.008 |  | 20 | 0.97 | 0.97 | 0.953 | 0.953 | 0.951 | 0.951 | 0.951 | 0.954 | 0.957 | 0.96 | 0.963 | 0.963 | 0.966 | 0.969
| 3 | 1.01 |  | 25 | 0.979 | 0.979 | 0.967 | 0.965 | 0.964 | 0.964 | 0.965 | 0.966 | 0.97 | 0.972 | 0.972 | 0.973 | 0.974 | 0.977
| 4 | 1.009 |  | 30 | 0.984 | 0.984 | 0.977 | 0.976 | 0.975 | 0.974 | 0.974 | 0.976 | 0.977 | 0.979 | 0.978 | 0.979 | 0.981 | 0.983
| 5 | 1.005 |  | 40 | 0.99 | 0.99 | 0.986 | 0.987 | 0.985 | 0.985 | 0.984 | 0.986 | 0.987 | 0.988 | 0.987 | 0.989 | 0.988 | 0.99
| 6 | 0.999 |  | 50 | 0.994 | 0.994 | 0.992 | 0.993 | 0.993 | 0.991 | 0.99 | 0.991 | 0.992 | 0.994 | 0.994 | 0.994 | 0.994 | 0.995
| 8 | 0.977 |  | 60 | 0.998 | 0.998 | 0.996 | 0.997 | 0.997 | 0.996 | 0.995 | 0.996 | 0.997 | 0.998 | 0.998 | 0.998 | 0.998 | 0.998
| 10 | 0.945 |  | 70 | 0.999 | 0.999 | 0.997 | 0.998 | 0.997 | 0.998 | 0.996 | 0.998 | 0.998 | 1 | 0.999 | 0.999 | 0.998 | 0.999
|  |  |  | 80 | 1 | 1 | 1 | 1 | 0.999 | 0.999 | 0.998 | 0.998 | 0.999 | 1.001 | 1 | 1 | 0.999 | 1
|  |  |  | 90 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1